APPENDIX I                                 XYZ/CQA/SOP-049/FR-01

CALIBRATION RECORD OF Showcase CHILLER

Showcase Chiiler  ID              	: -------------------------------

Date of Calibration			: -------------------------------

Frequency of Calibration		: QUARTERLY

Next due date for Calibration             : -------------------------------

Thermometer Calibration Valid up to : ------------------------------

Calibration Record:

| Rack No of Showcase Chiller | Observed temperature with thermometer (in ° C) after calibration | Acceptance criteria |
| --- | --- | --- |
|  |  | 2 – 8° C |

Conclusion: Equipment meets / does not meet the acceptance criteria and is calibrated / not 		          calibrated for use.

Calibration done by			Checked by			Authorised by

Date: 			 	Date: 				Date:

APPENDIX  II               XYZ/CQA/SOP-049/FR-02

CALIBRATION  RECORD  OF WALK IN COOLING CHAMBER

Walk in cooling chamber ID	            :---------------------------------

Date of Calibration			:----------------------------------

Frequency of Calibration		: QUARTERLY

Next due date for Calibration             :----------------------------------

Thermometer calibration valid up to   :----------------------------------

Calibration Record :

| Rack No | Observed temperature with thermometer (in ° C) after calibration | Acceptance criteria |
| --- | --- | --- |
|  |  | 2 – 8° C |

Conclusion: Equipment meets / does not meet the acceptance criteria and is calibrated / not 		          calibrated for use.

Calibration done by			Checked by			Authorised by

Date   			 	            Date   				Date

APPENDIX III                      XYZ/CQA/SOP-049/FR-03

DAILY  TEMPERATURE  MONITORING  RECORD OF SHOWCASE CHILLER

Showcase Chiller ID                                 :  --------------------------------------

Location                                                    : --------------------------------------

Thermometer  ID Number                         :--------------------------------------

Thermometer Calibration valid up to         : -------------------------------------

Acceptance criteria of Showcase Chiiler    : ( 2 – 8° C)

| Date | Time | Temperature | Monitored by | Checked by | Remarks |
| --- | --- | --- | --- | --- | --- |

APPENDIX IV                           XYZ/CQA/SOP-049/FR-04

DAILY  TEMPERATURE  MONITORING  RECORD OF  WALK IN COOLING CHAMBER

Walk in cooling chamber ID                       ----------------------------

Location                                                     ----------------------------

Thermometer  ID Number                          ----------------------------

Thermometer Calibration valid up to          ----------------------------

Acceptance criteria of Walk in Cooling Chamber      ( 2 – 8° C)

| Date | Time | Temperature | Monitored by | Checked by | Remarks |
| --- | --- | --- | --- | --- | --- |

APPENDIX V                                                          XYZ/CQA/SOP-049/FR-05

LOG BOOK OF SHOWCASE CHILLER

Showcase Chillier Id.		______________________

Location			______________________

| Sr. No | Date | Name of Sample | Name of Section | Rack No. | In Time | Out Time | Signature of person |
| --- | --- | --- | --- | --- | --- | --- | --- |

APPENDIX VI                                                    XYZ/CQA/SOP-049/FR-06

LOG BOOK OF WALK IN COOLING CHAMBER

| Sr.No | Date | Name of Sample | Rack No | Name of Section | Signature of person |
| --- | --- | --- | --- | --- | --- |