APPENDIX I	XYZ/CQA/SOP-064/FR-01

LOG BOOK OF BOD INCUBATOR

| Date of Incubation | Name of Sample | Batch / A.R.NO | Due Date of Withdrawal | Withdrawn on | Withdrawn by |
| --- | --- | --- | --- | --- | --- |

APPENDIX II                          XYZ/CQA/SOP-064/FR-02

DAILY TEMPERATURE MONITORING RECORD OF BOD INCUBATOR

BOD Incubator ID:-------------------------                  Set Value : 25°C

Location:	      :-------------------------                  Limit         : ± 2°C (23 to 27°C)

| Date | Scheduled Time | Observed Time | Temperature | Observed by | Checked by | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
|  | 9 to 9:30 |  |  |  |  |  |
|  | 11to11:30 |  |  |  |  |  |
|  | 14 to 4:30 |  |  |  |  |  |
|  | 17 to17:30 |  |  |  |  |  |
|  | 9 to 9:30 |  |  |  |  |  |
|  | 11to11:30 |  |  |  |  |  |
|  | 14 to 4:30 |  |  |  |  |  |
|  | 17 to17:30 |  |  |  |  |  |
|  | 9 to 9:30 |  |  |  |  |  |
|  | 11to11:30 |  |  |  |  |  |
|  | 14 to 4:30 |  |  |  |  |  |
|  | 17 to17:30 |  |  |  |  |  |
|  | 9 to 9:30 |  |  |  |  |  |
|  | 11to11:30 |  |  |  |  |  |
|  | 14 to 4:30 |  |  |  |  |  |
|  | 17 to17:30 |  |  |  |  |  |
|  | 9 to 9:30 |  |  |  |  |  |
|  | 11to11:30 |  |  |  |  |  |
|  | 14 to 4:30 |  |  |  |  |  |
|  | 17 to17:30 |  |  |  |  |  |
|  | 9 to 9:30 |  |  |  |  |  |
|  | 11to11:30 |  |  |  |  |  |
|  | 14 to 4:30 |  |  |  |  |  |
|  | 17 to17:30 |  |  |  |  |  |
|  | 9 to 9:30 |  |  |  |  |  |
|  | 11to11:30 |  |  |  |  |  |
|  | 14 to 4:30 |  |  |  |  |  |
|  | 17 to17:30 |  |  |  |  |  |
|  | 9 to 9:30 |  |  |  |  |  |
|  | 11to11:30 |  |  |  |  |  |
|  | 14 to 4:30 |  |  |  |  |  |
|  | 17 to17:30 |  |  |  |  |  |
|  | 9 to 9:30 |  |  |  |  |  |
|  | 11to11:30 |  |  |  |  |  |
|  | 14 to 4:30 |  |  |  |  |  |
|  | 17 to17:30 |  |  |  |  |  |

XYZ/CQA/SOP-064/FR-03

APPENDIX III                            INSCAL…………………

CALIBRATION DATA SHEET            Page No. 1 of 1

1.0	Instrument Id.:			……………………………………...

2.0	Location:				……………………………………...

3.0	Frequency:				Quarterly

4.0	Date of Calibration:			………………………………………

5.0	Next due date of Calibration:	………………………………………

6.0	PRT Thermometer Id ( Used for Calibration)…………………………..

7.0	Validity of Calibration		………………………………………

8.0      Set Value : 25°C

9.0	Limit	   : ± 2°C (23 to 27°C)

| Sr. No. | Time Interval | PRT Reference Thermometer | Display on BOD incubator | Difference between PRT thermometer & Display on BOD | Acceptance Criteria |
| --- | --- | --- | --- | --- | --- |
| 01 | 30 min |  |  |  | PRT & from Display NMT 1°C |
| 02 | 1 hour |  |  |  |  |
| 03. | 2 hour |  |  |  |  |
| 04 | 4 hour |  |  |  |  |

Remarks:    The above parameter used for the calibration as per predefined acceptance criteria

complies / Does not comply  hence the instrument is suitable / Not suitable  for

routine analysis

Done By:				 Checked By:				Approved By:

Date:			                         Date:					Date: