APPENDIX I                                                                                XYZ/CQA/SOP-074/FR-01

LOGBOOK FOR TURBIDITY METER

Instrument Id.:		-------------------------

Location:		-------------------------

| Sr.No. | Date | Name of the Sample | Batch No. / A. R. No. | Done By | Checked By | Remarks |
| --- | --- | --- | --- | --- | --- | --- |

APPENDIX II    		XYZ/CQA/SOP- 074/FR-02

CALIBRATION DATA SHEET

Page 1 of 1

1.0	Instrument Id: -----------------------------------------------------------------

2.0	Location: -----------------------------------------------------------------------

3.0	Calibration Frequency: 	Quarterly

4.0	Calibration Date: -------------------------------------------------------------

5.0	Next Due Date: ---------------------------------------------------------------

6.0	Observations

6.1       Solution 2NTU:------------------------------------------------------------------

6.2       Solution 4NTU:------------------------------------------------------------------

6.3       Solution 6NTU:------------------------------------------------------------------

6.4       Solution 8NTU:------------------------------------------------------------------

6.5 	Solution 10NTU:-----------------------------------------------------------------

| Cell Constant (K) | Turbidity of the standards at 25 0 C (NTU) | Observed Turbidity ( + 0.02 of the stated value) | Limits (NTU) |
| --- | --- | --- | --- |
| 1.0 | 2 |  | 1.98 to 2.02 |
| 1.0 | 4 |  | 3.98 to 3.02 |
| 1.0 | 6 |  | 5.98 to 6.02 |
| 1.0 | 8 |  | 7.98 to 8.02 |
| 1.0 | 10 |  | 9.98 to 10.02 |

Acceptance criteria

The linearity coefficient ‘r’ obtained from the linearity graph of Hydrazine sulphate and Hexamethylenetetramine for different levels should not be less than 0.999.

Remarks:	The above parameters used for the calibration as per predefined acceptance criteria complies / Does not comply hence the instrument is suitable / Not suitable for routine analysis.

Done By:				Checked By:				Approved By:

Date:					Date:					Date:

APPENDIX III                     XYZ/CQA /SOP-074/FR-03

Page 1 of 1

DAILY VERIFICATION DATA SHEET

1.0	Solution 2.0 NTU turbidity: -----------------------------------------------------

2.0	Solution 10.0 NTU turbidity: ----------------------------------------------------

3.0	Observations

| Cell Constant (K) | Turbidity Of The Standards at 25 0 C NTU | Observed Turbidity ( + 0.02 of the stated value) | Limits |
| --- | --- | --- | --- |
| 1.0 | 2.0 |  | 1.98 to 2.02 NTU |
| 1.0 | 10.0 |  | 9.98 to 10.02 NTU |

Remarks:	The above parameters used for the calibration as per predefined acceptance criteria complies / Does not comply hence the instrument is suitable / Not suitable for routine analysis.

Done By:					Checked By:				Approved By:

Date: