FINANCIAL BID

Date: ……………….

The Procurement Officer

Local Initiatives for Biodiversity, Research and Development (LI-BIRD)

Pokhara-12, Kaski

Re: Tender for Installation, Testing and Commissioning for the Solar Power for Ranger Post Electrification

Dear Madam/Sir,

With reference to tender called for Installation, Testing and Commissioning for the Solar Power for Ranger Post Electrification, we would like to submit our quotes for the following:

| SN | Description | Specifications | Unit | Qty | Total Amount (NPR) | Remarks |
| --- | --- | --- | --- | --- | --- | --- |
| A1 | Equipment for Guthi Ranger Post Electrification (2.5 kWp System) |  |  |  |  |  |
| 1 | Solar array | Mono crystalline panel with an individual panel efficiency of greater than 21%. | kWp | 2.5 |  | VAT exempt |
| 2 | Battery | 12V VRLA gel tubular battery with a minimum 2500 cycle at 80% depth of discharge and battery rack | KWh | 9.6 |  |  |
| 3 | Inverter | Hybrid inverter with MPPT charge controller with a minimum efficiency of 90% | kVA | 3 |  | VAT exempt |
| 4 | PV Mounting Structure | Solar PV module support, hot dipped galvanized of minimum of 85-micron metal frame | Set | 1 |  |  |
| 5 | Earthing System | Maintenance free copper rod earth Electrode of 25 mm diameter, Back-fill chemical compound of minimum 25 Kg, wire minimum 16 sq. mm. Earth Resistance value must be less than 5 Ohm round the year. | Set | 2 |  |  |
| 6 | Lightning Rod | Lightning rod of minimum 1.5 meters in length and 16 mm in diameter (for copper) positioned to ensure the protective angle cover | Set | 1 |  |  |
| 7 | Single Phase AC SPD | Type 1 + 2, as per IEC: 61643- 11:2011 at Main Distribution Box | PCs | 1 |  |  |
| 8 | DC SPD | Type 1 + 2, as per IEC: 61643- 11:2011 at the input side of Inverter | PCs | 1 |  |  |
| 9 | Main Distribution Board | Main distribution board including change over switch, MCCB and other accessories | Set | 1 |  |  |
| 10 | Miscellaneous | Including wires; energy meter and necessary accessories along with safety equipment, tool box and safety boards | Set | 1 |  |  |
| A2 | Equipment for Shivapuri Posts Electrification (2 kWp System) |  |  |  |  |  |
| 1 | Solar array | Mono crystalline panel with an individual panel efficiency of greater than 21%. | kWp | 2 |  | VAT exempt |
| 2 | Battery | 12V VRLA gel tubular battery with a minimum 2500 cycle at 80% depth of discharge and battery rack | KWh | 7.2 |  |  |
| 3 | Inverter | Hybrid inverter with MPPT charge controller with a minimum efficiency of 90% | kVA | 2.5 |  | VAT exempt |
| 4 | PV Mounting Structure | Solar PV module support, hot dipped galvanized of minimum of 85-micron metal frame | Set | 1 |  |  |
| 5 | Earthing System | Maintenance free copper rod earth Electrode of 25 mm diameter, Back-fill chemical compound of minimum 25 Kg, wire minimum 16 sq. mm. Earth Resistance value must be less than 5 Ohm round the year. | Set | 2 |  |  |
| 6 | Lightning Rod | Lightning rod of minimum 1.5 meters in length and 16 mm in diameter (for copper) positioned to ensure the protective angle cover | Set | 1 |  |  |
| 7 | Single Phase AC SPD | Type 1 + 2, as per IEC: 61643- 11:2011 at Main Distribution Box | PCs | 1 |  |  |
| 8 | DC SPD | Type 1 + 2, as per IEC: 61643- 11:2011 at the input side of Inverter | PCs | 1 |  |  |
| 9 | Main Distribution Board | Main distribution board including change over switch, MCCB and other accessories | Set | 1 |  |  |
| 10 | Miscellaneous | Including wires; energy meter and necessary accessories along with safety equipment, tool box and safety boards | Set | 1 |  |  |
| A2 | Equipment for Thuloshree Posts Electrification (1.5 kWp System) |  |  |  |  |  |
| 1 | Solar array | Mono crystalline panel with an individual panel efficiency of greater than 21%. | kWp | 1.5 |  | VAT exempt |
| 2 | Battery | 12V VRLA gel tubular battery with a minimum 2500 cycle at 80% depth of discharge and battery rack | KWh | 4.8 |  |  |
| 3 | Inverter | Hybrid inverter with MPPT charge controller with a minimum efficiency of 90% | kVA | 2 |  | VAT exempt |
| 4 | PV Mounting Structure | Solar PV module support, hot dipped galvanized of minimum of 85-micron metal frame | Set | 1 |  |  |
| 5 | Earthing System | Maintenance free copper rod earth Electrode of 25 mm diameter, Back-fill chemical compound of minimum 25 Kg, wire minimum 16 sq. mm. Earth Resistance value must be less than 5 Ohm round the year. | Set | 2 |  |  |
| 6 | Lightning Rod | Lightning rod of minimum 1.5 meters in length and 16 mm in diameter (for copper) positioned to ensure the protective angle cover | Set | 1 |  |  |
| 7 | Single Phase AC SPD | Type 1 + 2, as per IEC: 61643- 11:2011 at Main Distribution Box | PCs | 1 |  |  |
| 8 | DC SPD | Type 1 + 2, as per IEC: 61643- 11:2011 at the input side of Inverter | PCs | 1 |  |  |
| 9 | Main Distribution Board | Main distribution board including change over switch, MCCB and other accessories | Set | 1 |  |  |
| 10 | Miscellaneous | Including wires; energy meter and necessary accessories along with safety equipment, tool box and safety boards | Set | 1 |  |  |
|  | Equipment for Kalinara Posts Electrification (1.5 kWp System) |  |  |  |  |  |
| 1 | Solar array | Mono crystalline panel with an individual panel efficiency of greater than 21%. | kWp | 1.5 |  | VAT exempt |
| 2 | Battery | 12V VRLA gel tubular battery with a minimum 2500 cycle at 80% depth of discharge and battery rack | KWh | 4.8 |  |  |
| 3 | Inverter | Hybrid inverter with MPPT charge controller with a minimum efficiency of 90% | kVA | 2 |  | VAT exempt |
| 4 | PV Mounting Structure | Solar PV module support, hot dipped galvanized of minimum of 85-micron metal frame | Set | 1 |  |  |
| 5 | Earthing System | Maintenance free copper rod earth Electrode of 25 mm diameter, Back-fill chemical compound of minimum 25 Kg, wire minimum 16 sq. mm. Earth Resistance value must be less than 5 Ohm round the year. | Set | 2 |  |  |
| 6 | Lightning Rod | Lightning rod of minimum 1.5 meters in length and 16 mm in diameter (for copper) positioned to ensure the protective angle cover | Set | 1 |  |  |
| 7 | Single Phase AC SPD | Type 1 + 2, as per IEC: 61643- 11:2011 at Main Distribution Box | PCs | 1 |  |  |
| 8 | DC SPD | Type 1 + 2, as per IEC: 61643- 11:2011 at the input side of Inverter | PCs | 1 |  |  |
| 9 | Main Distribution Board | Main distribution board including change over switch, MCCB and other accessories | Set | 1 |  |  |
| 10 | Miscellaneous | Including wires; energy meter and necessary accessories along with safety equipment, tool box and safety boards | Set | 1 |  |  |
| B | Transportation, Installation, testing and commissioning |  |  |  |  |  |
| 1 | Transportation cost | Transportation up to the Bardiya National Park from the suppliers warehouse along with the cost for two visits in two years in accordance with after sales agreement | LS | 1 |  |  |
| 2 | Installation, Testing and Commissioning cost | Includes the cost of the resource persons and equipment’s for the testing and commissioning | LS | 1 |  |  |
| VAT Exempt amount |  |  |  |  |  |  |
| VAT able Amount |  |  |  |  |  |  |
| Total VAT |  |  |  |  |  |  |
| Total amount including all applicable taxes |  |  |  |  |  |  |

The amount quoted is inclusive of taxes and delivery charges up to the delivery points mentioned in the Technical Bid document.

Total Amount in Words: (Please write the total amount quoted in words)

…………………………………………………………………………………………………………………………………………………………………………………………………………………………..

Submitted by:

| Name: |  |
| --- | --- |
| Designation: |  |
| Signature with Date: |  |
| Company's Seal: |  |