XYZ/CQA/SOP-063/FR-01

APPENDIX I

LOGBOOK FOR PHOTOFLUORIMETER

| Sr.No. | Date | Name of the Sample | Bath No. / A. R. No. | Done By | Checked By | Remarks |
| --- | --- | --- | --- | --- | --- | --- |

XYZ/CQA/SOP-063/FR-02

APPENDIX II                            INSCAL…………………

CALIBRATION DATA SHEET            Page No. 1 of 1

1.0	Instrument Id.:			……………………………………...

2.0	Location:				……………………………………...

3.0	Frequency:				Quarterly

4.0	Date of Calibration:			………………………………………

5.0	Next due date of Calibration:	………………………………………

6.0	Observations Table:

| Sr. No. | Concentration of Solutions (ppm) | Observed Fluorescence |  |  | Average Fluorescence |
| --- | --- | --- | --- | --- | --- |
|  |  | I Reading | II Reading | III Reading |  |
| 1.0 | 1 |  |  |  |  |
| 2.0 | 2 |  |  |  |  |
| 3.0 | 3 |  |  |  |  |
| 4.0 | 4 |  |  |  |  |
| 5.0 | 5 |  |  |  |  |
| 6.0 | 8 |  |  |  |  |
| Correlation Coefficient |  |  |  |  |  |

Acceptance Criteria:	Coefficient Correlation should be not less than 1.0

Remarks:    The above parameter used for the calibration as per predefined acceptance criteria

complies / Does not comply  hence the instrument is suitable / Not suitable  for

routine analysis

Done By:				Checked By:				Approved By:

Date:					Date:					Date: