## Slide 1: Measuring stream flow: continuous gauging
1
NOTE: Slides for each module are numbered for easier cross-referencing with class notes
NOTE: My slides have TONS of animations and building graphics. These do not translate well to D2L, so it is best to download the power point to work through the logic behind the animations

## Slide 2: Measuring flow over time: How?
Pressure transducers
Capacitance
rod
AIR
Bubble
pressure
21

## Slide 3: Measuring flow over time: natural channels
Stilling well
Data logger
Staff gauge
22

## Slide 4: Stream hydraulics: flow and depth (or stage)
What determines the relationship between velocity and area?
23
Darcy-Weisbach
Constant

## Slide 5: Stream hydraulics: flow and depth (or stage)
What determines the relationship between velocity and area?
Hydraulic Radius
Wetted Perimeter
Cross-sectional area
For streams that are much wider than they are deep, the hydraulic radius is approximately the same as the average depth of a cross-section
24
Constant

## Slide 6: Stream hydraulics: dimensional analysis
Darcy-Weisbach
25
Constant
is the acceleration of gravity
Dimensions?
is the hydraulic radius
is the energy slope
is the dimensionless friction factor

## Slide 7: Stream hydraulics: sensitivity analysis
Darcy-Weisbach
26
What happens to if
?
will
What happens to if
?
Constant
will
Higher energy slopes lead to faster and shallower flows
What happens to if
?
will
What happens to if
?
will
Higher resistance to flow leads to slower and deeper flows

## Slide 8: Stream hydraulics: thought exercises
Stream reaches A and B have about the same discharge and slope
Both stream reaches are very wide relative to their depth
Reach A has algae growth and friction is about twice that of reach B
Which reach has a higher velocity?
Which reach is deeper?
Darcy-Weisbach
Reach B
Reach A
27

## Slide 9: Stream hydraulics: thought exercises
Stream reaches A and B have about the same discharge and friction
Both stream reaches are very wide relative to their depth
Reach A is in the mountains so its slope is about twice that of reach B
Which reach has a higher velocity?
Which reach is deeper?
Darcy-Weisbach
Reach A
Reach B
28

## Slide 10: Measuring flow over time: rating curves
USGS Fact Sheet 2011-3001
Stilling well
Data logger
Manual stage
Manual
measurement
Interpolation
function
29

## Slide 11: Measuring flow over time: rating curves
USDA Report for Joint Venture Agreement No. 02-JV-11222022-183
30

## Slide 12: Stream hydraulics: thought exercise
At the same stage, discharge is now lower than it used to be.
What is a change to the stream geometry that can explain this?
  Bank failure may have created a narrower channel
What is a change to the resistance to flow that can explain this?
Darcy-Weisbach
31

## Slide 13: Measuring flow over time: rating curves
USDA Report for Joint Venture Agreement No. 02-JV-11222022-183
32

## Slide 14: Stream hydraulics: thought exercise
At the same stage, discharge is now lower than it used to be.
What is a change to the stream geometry that can explain this?
  Bank failure may have created a narrower channel
At the same discharge, stage is now higher than it used to be.
What is a change to the resistance to flow that can explain this?
  Change in bed material or aquatic vegetation may have increased friction
Darcy-Weisbach
33

## Slide 15: Measuring flow over time: rating curves
USDA Report for Joint Venture Agreement No. 02-JV-11222022-183
34
Open channel gauges are more likely to lose calibration of their rating curves due changes in channel structure

## Slide 16: Measuring flow over time: H flumes
Stilling well
Sonic water level
35

## Slide 17: Measuring flow over time: H flumes
USDA Report for Joint Venture Agreement No. 02-JV-11222022-183
36

## Slide 18: Stream hydraulics: thought exercise
At the same discharge, stage is now higher than it used to be.
What is a change to the energy slope that can explain this?
  The flume structure may have settled over time resulting in the flume having a lower slope.
Darcy-Weisbach
37

## Slide 19: Measuring flow over time: Parshall flumes
Stilling well
Manual stage
38

## Slide 20: Measuring flow over time: Parshall flumes
USDA Report for Joint Venture Agreement No. 02-JV-11222022-183
39

## Slide 21: Measuring flow over time: Weirs
40

## Slide 22: Measuring flow over time: Rivers
Missouri River
Fort Benton, MT
Gauge house over
stilling well
From USGS public domain
41

## Slide 23: Measuring flow over time: Rivers
From USGS California Water Center webcam
Ventura River, CA
Water depth by radar,
telemetry
42

## Slide 24: Stream hydraulics: flow and depth (or stage)
Darcy-Weisbach
Manning
Chézy
= “friction factor”
= “Chézy coef.” (inverted)
= Manning’s roughness
Resistance to flow
43
Manning’s equation and manning’s roughness
are by far the most common in applied hydraulics