## Slide 1: Types of transducer: thermistor
Controller
Transducer
Excitation
Signal
(relative to ground)
(relative to ground)
ground
Calibration – Campbell manual for
Model 107 thermistor probe
Active or Passive?
Passive
Analog or digital?
Analog (resistance)
+
-

## Slide 2: Measuring resistance with a half bridge
(relative to ground)
(relative to ground)
ground
Calibration – Campbell manual for
Model 107 thermistor probe
kW
Ohm’s law: the electrical potential across a circuit element is the product of the current and resistance
Kirchhoff’s current law (continuity): Total current entering a junction must equal total current leaving a junction

## Slide 3: Data loggers: thermistor example
Interface
Input/Output
Controller
Micro-Processor/-Controller
Memory
Power Supply
Keypad / Liquid Crystal Display (CR850)
kW
249kW

## Slide 4: Transduction of information: thermistors
Demonstration
Thermistor in Campbell CS547A – Temperature and Electrical Conductivity Probe
Making a ohm meter
Programming inference of temperature from a thermistor