## Slide 1: Types of transducer: thermocouple
Active or Passive?
Controller
Transducer
Signal
Metal A
Metal B
Analog or digital?
Calibration - Boudry 1976
http://srdata.nist.gov/its90/main/
Active
Analog (voltage)
Copper
Constantan (copper-nickel alloy)
Type “T”

## Slide 2: Transduction of information: thermocouples
Exercise
T-type thermocouple wire
Campbell software
  PC400 (or similar)
  Connecting to data logger via a USB-RS232 serial adapter
Making a volt meter
  Using “Short Cut” wizards (programming using a GUI)
  Editing a program in CRBasic
Programming inference of temperature from a thermocouple