## Instructions
Please make a copy for your own use, so you can modify this document.

## Electrical Safety Report Checklist Template
☑️ Electrical Safety Report Checklist ☑️

	Task	Things to Consider		Remarks
	0	Are all plugs, sockets, and electrical fittings sufficiently robust for use
		throughout the facility?
	0	Are all electrical fuse/junction boxes securely fixed, closed, and undamaged?
	0	Are fuses, circuit breakers, and other electrical devices correctly rated for the
		circuits they protect?
	0	Is access to fuse boxes restricted, and is the key held by a responsible
		person?
	0	Are main switches readily accessible, clearly identified, and do all workers
		know how to use them in an emergency?
	0	Are all electrical installations periodically checked, and are repairs carried
		out by a competent electrician?
	0	Are there any exposed cables or wires without proper casing within the
		facility?
	0	Are there any improperly spliced or taped electrical wires?
	0	Is electrical equipment properly grounded to prevent electrocution or fire
		hazards?
	0	Are any electrical wires present in damp areas or standing water?
	0	Are any electrical wires obstructing aisles or passageways?
	0	Are all visible electrical wires securely fixed and properly routed to avoid
		hazards?
	0	Are all extension cords and power strips in good condition, without frays or
		damage?
	0	Are portable electrical tools and equipment inspected regularly for defects or
		wear?
	0	Are lockout/tagout procedures in place and followed during maintenance or
		repair of electrical equipment to prevent accidental energization?

	This work is licensed by Managry s.r.o. under Creative Commons Attribution-ShareAlike 4.0 International.