## Instructions
Please make a copy for your own use, so you can modify this document.

## Electrical Safety Report Checkl
☑️ Electrical Safety Report Checklist ☑️
| Task | Things to Consider | Remarks
| FALSE | Are all plugs, sockets, and electrical fittings sufficiently robust for use
throughout the facility?
| FALSE | Are all electrical fuse/junction boxes securely fixed, closed, and undamaged?
| FALSE | Are fuses, circuit breakers, and other electrical devices correctly rated for the
circuits they protect?
| FALSE | Is access to fuse boxes restricted, and is the key held by a responsible
person?
| FALSE | Are main switches readily accessible, clearly identified, and do all workers
know how to use them in an emergency?
| FALSE | Are all electrical installations periodically checked, and are repairs carried
out by a competent electrician?
| FALSE | Are there any exposed cables or wires without proper casing within the
facility?
| FALSE | Are there any improperly spliced or taped electrical wires?
| FALSE | Is electrical equipment properly grounded to prevent electrocution or fire
hazards?
| FALSE | Are any electrical wires present in damp areas or standing water?
| FALSE | Are any electrical wires obstructing aisles or passageways?
| FALSE | Are all visible electrical wires securely fixed and properly routed to avoid
hazards?
| FALSE | Are all extension cords and power strips in good condition, without frays or
damage?
| FALSE | Are portable electrical tools and equipment inspected regularly for defects or
wear?
| FALSE | Are lockout/tagout procedures in place and followed during maintenance or
repair of electrical equipment to prevent accidental energization?
This work is licensed by Managry s.r.o. under Creative Commons Attribution-ShareAlike 4.0 International.