## Benefit cost analysis
| Select consumer category | Public service
| Benefit-Cost Tests | TRC | RIM NPV | LRIRIM | PCT | SCT
| NPV Benefits | 12618.2858 | 12618.2858 |  | 10189.2657 | 27666.018
| NPV Costs | 3120 | 10909.2657 |  | 2400 | 2580
| Results of tests | 9498.2858 | 1709.02 | -2.5881e-05 | 7789.2657 | 25086.018
|  | PASS | PASS | PASS | PASS | PASS
Assumptions & Data |  |  |  | Source
Utility data | Differnece between HMC and APPC | 3 |  | Calculated
| HMC (INR/kWh) | 6 |  | Input from tariff order
| APPC (INR/kWh) | 3 |  | Input from tariff order
| Escalation rates for power purchase cost (%) | 5% |  | Input from tariff order
| Distribution loss (%) | 15% |  | Input from tariff order
| Transmission loss (%) | 5% |  | Input from tariff order
| Consumer category | Residential |  | Input from tariff order
| Consumer tariff (INR/kWh) | 4 |  | Input from tariff order
| Number of fans to be distributed under the program | 200000
| CAGR for utility sales (%) | 5% |  | Input from tariff order
| Utility total sales (MUs) | 500000 |  | Input from tariff order
| Escalation in consumer tariff (%) | 5% |  | Assumption
Cost of technology | BLDC fan cost (INR Cr) | 60 |  | Input from market survey
| Convential fan cost (INR Cr) | 30 |  | Input from market survey
| Difference in cost (INR Cr) | 30 |  | Calculated
| Operational cost of BLDC fan (% of total cost) | 0% |  | Input from market survey
| Escalation in operational cost (%) | 5% |  | Assumption
| Utility subsidy for puchanse of new technology (%) | 20% |  | Assumption
Annual energy savings | For consumer (kWh) in non-peak time | 23360000
| For consumer (kWh) in peak time | 11680000 |  | Calculated
| For utility (kWh) in non-peak time | 28928792.5697
| For utility (kWh) in peak time | 14464396.2848 |  | Calculated
Program cost | Marketing and Administrative cost (% of total cost) | 2% |  | Assumption
| M&V cost (% of total cost) | 2% |  | Assumption
Financial | Discount rate (%) | 10.5% |  | Assumptions
Savings (Benefits) for TRC and RIM tests | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Avoided cost of supply (INR/kWh) in non-peak time |  | 867.8638 | 911.257 | 956.8198 | 1004.6608 | 1054.8938 | 1107.6385 | 1163.0205 | 1221.1715 | 1282.2301 | 1346.3416
| Avoided cost of supply (INR/kWh) in peak time |  | 867.8638 | 911.257 | 956.8198 | 1004.6608 | 1054.8938 | 1107.6385 | 1163.0205 | 1221.1715 | 1282.2301 | 1346.3416
| Savings in supply cost to utility (INR Lakhs) |  | 1735.7276 | 1822.5139 | 1913.6396 | 2009.3216 | 2109.7877 | 2215.2771 | 2326.0409 | 2442.343 | 2564.4601 | 2692.6831
| NPV of savings (INR Lakhs) | 10.5% 0: 12618.2858
Cost for TRC test | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Utility cost | Marketing and administrative cost (INR Lakhs) | 12618.2858 0: 60
| Cost of technology to utility (INR Lakhs) | 12618.2858 0: 600
| Cost of M&V | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost to consumer | Cost of technology to consumer +utility (INR Lakhs) | 12618.2858 0: 2400
| Annual operational cost |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total cost | 3120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NPV of costs (TRC) (INR Lakhs) | 12618.2858 0: 3120
NPV of net benefit (Benefit -Cost) for TRC test (INR Lakhs) | 9498.2858 | 12618.2858 0: NPV of net benefits under TRC test is positive hence programe is considered for RIM test
Cost of RMI test | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Utility cost | Marketing and administrative cost (INR Lakhs) | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cost of technology to utility (INR Lakhs) | 600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Cost of M&V | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Loss in revenue (INR Lakhs) |  | 1401.6 | 1471.68 | 1545.264 | 1622.5272 | 1703.6536 | 1788.8362 | 1878.278 | 1972.192 | 2070.8016 | 2174.3416
| Total cost | 720 | 1401.6 | 1471.68 | 1545.264 | 1622.5272 | 1703.6536 | 1788.8362 | 1878.278 | 1972.192 | 2070.8016 | 2174.3416
| NPV of costs (RIM) (INR Lakhs) | NPV of net benefits under TRC test is positive hence programe is considered for RIM test 0: 10909.2657
NPV of net benefit (Benefit -Cost) for RIM test (INR Lakhs) | 1709.02 | NPV of net benefits under TRC test is positive hence programe is considered for RIM test 0: NPV of net benefits under RIM test is positive hence suggested for implementation
Tariff impact | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Total sales (MUs) | 500000 | 525000 | 551250 | 578812.5 | 607753.125 | 638140.7812 | 670047.8203 | 703550.2113 | 738727.7219 | 775664.108 | 814447.3134
| Tariff impact (INR/kWh) | NPV of net benefits under RIM test is positive hence suggested for implementation 0: -2.5881e-05
Participants benefit | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Total Benefits |  | 1401.6 | 1471.68 | 1545.264 | 1622.5272 | 1703.6536 | 1788.8362 | 1878.278 | 1972.192 | 2070.8016 | 2174.3416
| NPV of benefits (INR Lakhs) | -2.5881e-05 0: 10189.2657
Participants cost | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
Cost to consumer | Cost of technology (INR Lakhs) | 10189.2657 0: 2400
| O & M cost (To consumers) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total cost | 2400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NPV of costs for PCT (INR Lakhs) | 10189.2657 0: 2400
NPV of net benefit (Benefit -Cost) for PCT test (INR Lakhs) | 7789.2657
Sociatal savings | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| GST on communication/measurement equipments | 0: 18%
| Socital Cost of Power, Rs/ unit | 10.6 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6
| Avoided external cost (Rs. Lakhs) | 0 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678
| Total Benefit, Rs.Lakhs | 0 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678 | 4599.678
| NPV of Savings (INR Lakhs) | 0: 27666.018
Socital cost | Year | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Purchase cost to utility & participant, excluding tax (Rs. Lakhs) | 2460 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Admin, mkting, M&V costs to utility(Rs. Lakhs) | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total Cost of the Program (Rs. Lakhs) | 2580 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NPV of cost for SCT (INR Lakhs) | 27666.018 0: 2580
NPV of net benefit (Benefit -Cost) for SCT test (INR Lakhs) | 25086.018

## Assumptions
| Parameter | Heat Pump | Unitary geysers
Heat pump and Geyser | Number of fans | 1 | 1 | Technology specifc data
| rating of each unit (kW) | 0.03 | 0.07
| Total rating of power per building | 0.03 | 0.07
| Number of hours of operation in peak time | 4 | 4
| Number of hours of operation in non-peak time | 8 | 8
| Number of days of operation per year | 365 | 365
| Annual energy consumption in non-peak time (kWh) | 87.6 | 204.4
| Annual energy consumption in peak time (kWh) | 43.8 | 102.2
| Total savings in energy consumption in non-peak time (kWh) | 116.8
| Total savings in energy consumption in peak time (kWh) | 58.4
| Cost per equipment (INR) | 3000 | 1500
| Total cost (INR Cr) | 0.0003 | 0.00015
| Cost difference (INR Cr) | 0.00015
DISCOM data | Highest Marginal cost (INR/kWh) | 5 |  | Inputs from tariff order - discom specifc
| Average power purchase cost (INR/kWh) | 3
| Utility total sales (MUs) | 500000
| Escalation rates for power purchase cost (%) | 2%
| Distribution loss (%) | 15%
| Transmission loss (%) | 5%
|  | Tariff (INR/kWh) | Number of buildings in each category
| Residential | 4 | 200000 | Assumptions based on consumer base data
| Commercial | 10 | 200
| Public service | 6 | 100
| utility subsidy to the initial cost (%) | 50%
| Marketing and administrative cost (% of total cost) | 2%
| M&V cost (% of total cost) | 2%
| Discount factor | 10.5%